## MERSCOPE Tracker
Specimen | Species | Targeted atlas plate | coverslip batch | Coverslip LN | Section Date | Batch Verification | Prep Type | Panel | Human Light Treatment | Human Light Treatment time | Sample Prep Kit LN | Sample wash buffer | Formamide wash buffer | Probe | Probe LN | HYB start | HYB end | Gel Embedding Premix | Gel Slick L/N | APS L/N | TEMED | Clearing preMix | Proteinase K | W/E/D start | W/E/D end | Gel Notes | Run Date | MERSCOPE External name | MERSCOPE | Gel observation | Imaging Kit L/N | Sample Prep Buffer LN | Formamide Buffer LN | DAPI & Poly T L/N | RNAse Inhibitor | Imaging activator buffer | Mineral Oil LN | Cartridge LN | Cartridge ID | Expiration Date | Codebook Used | Run Name | Experiment name | Images Overview | Selected region | Size of Selected Region (mm2) | Run Start Time | Projected end time | Run Ended | Total run time | Run Disposition | Analysis start | Notes | Targeted Plate in CCf | Raw Data Transfer to NAS | Analysis Transfer to NAS | Output Transfer to NAS | Deleted from analysis Computer (Z) | Deleted from MERSCOPE (D) | Experiment assembled | Location output data | Location raw data
Macaque 03 (QM21.26.003.Cx07.MTG.02.007.1.01.10) | Macaque |  | VZ1100601_1 | 21100601 | 2021-10-21 | Pass | MerFISH | 140 genes |  |  | 21092105 | 21092101 | 21092102 | VZG167b |  | 2021-10-25 | 2021-10-27 |  | 0000991889 | MKG5404 | 64310880 |  |  | 2021-10-27 | 2021-10-28
Macaque 04 (QM21.26.003.Cx07.MTG.02.007.1.01.10) | Macaque |  | VZ1100601_1 | 21100601 | 2021-10-21 | Pass | MerFISH | 140 genes |  |  | 21092105 | 21092101 | 21092102 | VZG167b |  | 2021-10-25 | 2021-10-27 |  | 0000991889 | MKG5404 | 64310880 |  |  | 2021-10-27 | 2021-10-28
Macaque 05 (QM21.26.003.Cx07.MTG.02.007.1.01.10) | Macaque |  | VZ1100601_1 | 21100601 | 2021-10-21 | Pass | MerFISH | 140 genes |  |  | 21092105 | 21092101 | 21092102 | VZG167b |  | 2021-10-25 | 2021-10-27 |  | 0000991889 | MKG5404 | 64310880 |  |  | 2021-10-27 | 2021-10-28 |  | 2021-10-29 |  | Dotty |  | 21101505 |  |  |  | 10109058 | 21082002 | MKCP0930 | 0008 |  |  |  | 202110291527_Macaquecoverslip5_VMSC00801 | Macaque Coverslip 5 |  |  |  | 10/29/2021 3:27pm |  | 10/30/2021 9:30am | 17 hours 57 minutes | Successful
H19.30.001.CX46.MTG.02.007.1.01 | Human |  | VZ1100601_1 | 21100601 | 2021-10-21 | Unverified | MerFISH | 140 genes |  |  | 21092105 | 21092101 | 21092102 | VZG167a |  | 2021-10-25 | 2021-10-27 |  | 0000991889 | MKG5404 | 64310880 |  |  | 2021-10-27 | 2021-10-29
H19.30.001.CX46.MTG.02.007.1.01 | Human |  | VZ1100601_1 | 21100601 | 2021-10-21 | Unverified | MerFISH | 140 genes |  |  | 21092105 | 21092101 | 21092102 | VZG167a |  | 2021-10-25 | 2021-10-27 |  | 0000991889 | MKG5404 | 64310880 |  |  | 2021-10-27 | 2021-10-29
587754.03 | Mouse |  | V21100601_2 | 21100601 | 2021-10-21 | Pass | MerFISH | 500 genes |  |  | 21092105 | 21092101 | 21092102 | VZG147 |  | 2021-10-25 | 2021-10-27 |  | 0000991889 | MKG5404 | 64310880 |  |  | 2021-10-27 | 2021-10-28 |  | N/A | [14 empty] | N/A | [8 empty] | Gel came off coverslip
587754.04 | Mouse |  | V21100601_2 | 21100601 | 2021-10-21 | Pass | MerFISH | 500 genes |  |  | 21092105 | 21092101 | 21092102 | VZG147 |  | 2021-10-25 | 2021-10-27 |  | 0000991889 | MKG5404 | 64310880 |  |  | 2021-10-27 | 2021-10-28 |  | 2021-11-01 | [14 empty] | 202111011459_587753_VMSC00801 | [8 empty] | Stopped at end of chemistry |  | Gel came off coverslip
587754.05 | Mouse |  | V21100601_2 | 21100601 | 2021-10-21 | Pass | MerFISH | 500 genes |  |  | 21092105 | 21092101 | 21092102 | VZG147 |  | 2021-10-25 | 2021-10-27 |  | 0000991889 | MKG5404 | 64310880 |  |  | 2021-10-27 | 2021-10-28 |  | N/A | [14 empty] | N/A | [8 empty] | Aborted |  | Run aborted Gel cam off during final wash and cartridge is damaged
Macaque 07 (QM21.26.003.Cx07.MTG.02.007.1.01.10) | Macaque |  | VZ1100601_1 | 21100601 | 2021-10-21 | Pass | MerFISH | 140 genes | [7 empty] | 2021-10-25 | 2021-10-27 | [6 empty] | 2021-10-27 | 2021-10-28 | [25 empty] | Stopped at end of chemistry |  | Gel came off coverslip
Macaque 08 (QM21.26.003.Cx07.MTG.02.007.1.01.10) | Macaque |  | VZ1100601_1 | 21100601 | 2021-10-21 | Pass | MerFISH | 140 genes | [7 empty] | 2021-10-25 | 2021-10-27 | [35 empty] | Sent to Vizgen
Macaque 09 (QM21.26.003.Cx07.MTG.02.007.1.01.10) | Macaque |  | VZ1100601_1 | 21100601 | 2021-10-21 | Pass |  | 140 genes | [44 empty] | Sent to Vizgen
QM21.26.003.Cx07.MTG.02.007.1.01.08 | Macaque |  | VZ1100601_1 | 21100601 | 2021-10-21 | Pass |  | 140 genes |  |  |  | 21092101 | 2109102 | VZG167b | 21102116 | 2021-11-01 | 2021-11-03 |  | 991889 | MKCN2947 | 64342826 |  |  | 2021-11-03 | 2021-11-04 |  | 2021-10-10 |  | Dotty |  | 21102607 |  |  | H0-210701 | 10109058 |  |  | 13 |  |  | codebook_0_VZG167BAllenMacaque_0.csv (140 genes) | 212111107644_QM2116003Cx07MTG0200710108_VMSC00801 | QM2116003Cx07MTG0200710108 |  |  |  | 7pm |  |  |  | Aborted |  | Edges of gel are peeling off. Gel looks fine as of 11/4/2021. See issues log. Focus failure.
QM21.26.003.Cx07.MTG.02.007.1.01.09 | Macaque |  | VZ1100601_1 | 21100601 | 2021-10-21 | Pass |  | 140 genes |  |  |  | 21092101 | 2109102 | VZG167b | 21102116 | 2021-11-01 | 2021-11-03 |  | 991889 | MKCN2947 | 64342826 |  |  | 2021-11-03 | 2021-11-04 | [27 empty] | Edges of gel are peeling off.
H19.30.001.CX46.MTG.02.007.1.01.05 | Human |  | VZ1100601_1 | 21100601 | 2021-10-21 | Unverified |  | 140 genes |  |  | 21092105 | 21092101 | 2109102 | VZG167a | 21102115 | 2021-11-01 | 2021-11-03 |  | 991889 | MKCN2947 | 64342826 |  |  | 2021-11-03 | 2021-11-04 |  | 2021-11-04 |  | Dotty |  | 21100715 |  |  | H0-210701 | 10109058 | 20300012 |  | 11 |  |  | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202111041033_H1930001CX46MTG200710105_VMSC00801 | H1930001CX46MTG200710105 |  |  |  | 10:33am |  |  |  | Aborted |  | Edges of gel are peeling off. Was still able to image. See issues log.
H19.30.001.CX46.MTG.02.007.1.01 | Human |  | VZ1100601_1 | 21100601 | 2021-10-21 | Unverified |  | 140 genes |  |  |  | 21092101 | 2109102 | VZG167a | 21102115 | 2021-11-01 | 2021-11-03 |  | 991889 | MKCN2947 | 64342826 |  |  | 2021-11-03 | 2021-11-04 | [27 empty] | Edges of gel are peeling off.
594754.04 | Mouse | 54 | VZ1100601_2 | 21100601 | 2021-11-09 | Unverified | MerFISH | 500 genes |  |  |  | 21092101 | 2109102 | VZG147 | 21101401 | 2021-11-10 | 11/10/2021 Noon |  | 0000991889 | MKCN2947 | 64342826 |  |  |  | 2021-11-18 |  | 2021-11-18 | AIBS_MERSCOPE02 | Arielle10 |  | 21092005 | 21092101 | 21092101 | H0-210701 | 10109058 | 21082002 | MKCP0930 | 8 |  |  | codebook_0_VZG147_0.csv (500 genes) | 202111181231_59475404Mouse500gene_VMSC01001 | 59475404Mouse500gene |  |  | 76.54 | 2:31pm 11/18/2021 | 6:01am 11/20/2021 | 8:17pm 11/19/2021 | 29 hours 47 minutes | Successful | 11/20/2021 10:10am | Edges are curling. With advice from Jiang was still able start | 54 | successful |  | successful | Deleted | Deleted | Yes
594754.05 | Mouse | 54 | VZ1100601_2 | 21100601 | 2021-11-09 | Unverified |  | 500 genes |  |  |  | 21092101 | 2109102 | VZG147 | 21101401 | 2021-11-10 | 11/10/2021 Noon |  | 0000991889
594754.06 | Mouse | 77 | VZ1100601_2 | 21100601 | 2021-11-09 | Unverified | MerFISH | 500 genes |  |  |  | 21092101 | 2109102 | VZG147 | 21101401 | 2021-11-10 | 11/10/2021 Noon |  | 0000991889 | MKCN2947 | 64342826 |  |  |  | 2021-11-18 |  | 2021-11-18 | AIBS_MERSCOPE01 | Triton04 |  | 21101303 | 21092101 | 21092101 | H0-210701 | 10109058 | 21082002 | MKCP0930 | 0008 |  |  | codebook_0_VZG147_0.csv (500 genes) | 202111181341_59475406Mouse500gene_vmsc00401 | 597475406Mouse500gene |  |  | 76.92 | 2:54pm 11/18/2021 | 6:53am 11/20/2021 | 8:34pm 11/19/2021 | 29 hours 28 minutes | Successful | 11/20/2021 10:15am | Edges are curling. With advice from Jiang was still able start | 77 | successful |  | successful | Deleted | Deleted | Yes
594754.07 | Mouse | 77 | VZ1100601_2 | 21100601 | 2021-11-09 | Unverified |  | 500 genes |  |  |  | 21092101 | 2109102 | VZG147 | 21101401 | 2021-11-10 | 11/10/2021 Noon |  | 0000991889
594754.08 | Mouse | 77 | VZ1100601_2 | 21100601 | 2021-11-09 | Unverified | MerFISH | 500 genes |  |  | 21092105 | 21092101 |  | VZG147 |  | 2021-11-15 | 11/18/2021 3:21pm | 21092104 | 0000991889 | MKCN2947 | 64342826 | 21092103 | 1015652 | 2021-11-18 | 2021-11-22 |  | 2021-11-22 | AIBS_MERSCOPE02 | Arielle10 | Gel is curling on a small part of edging | 21101303 | 21092101 | 21092101 | H0-210701 | 10109058 | 21082002 | MKCP0930 | 8 | #0010008202111310000213 | 2021-12-01 | codebook_0_VZG147_0.csv (500 genes) | 202111221147_59475408Mouse500gene_VMSC01001 | 597475408Mouse500gene |  |  | 72.11 | 12:56pm 11/22/2021 | 2:48am 11/24/2021 | 9:02pm 11/23/2021 |  | successful | [5 empty] | successful | Deleted | Deleted | yes
594754.1 | Mouse | 77 | VZ1100601_2 | 21100601 | 2021-11-09 | Unverified | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 |  | VZG147 |  | 2021-11-15 | 11/18/2021 3:21pm | 21092104 | 0000991889 | MKCN2947 | 64342826 | 21092103 | 1015652 | 2021-11-18 | 2021-11-24 |  | 2021-11-24 | AIBS_MERSCOPE01 | Triton04 | Gel is curling on a small part of edging | 21101304 | 21092101 | 21092101 | H0-210701 | 10109058 | 21082002 | MKCP0930 | 0008 | #0010011202112280000388 | 2021-12-28 | codebook_0_VZG147_0.csv (500 genes) | 202111241250_59475410Mouse500gene_vmsc00401 | 597475410Mouse500gene |  |  | 71.71 | 2:02pm 11/24/2021 | 3:22am 11/26/2021 | 2021-11-25 |  | successful | 2021-11-26 | Edges were wrinkled but gel still looked good. |  | successful |  | successful |  |  | yes
594754.09 | Mouse | 77 | VZ1100601_2 | 21100601 | 2021-11-09 | Unverified | MerFISH | 500 genes |  |  | 21092105 | 21092101 | 21092102 | VZG147 |  | 2021-11-15 | 11/18/2021 3:21pm | 21092104 | 0000991889 | MKCN2947 | 64342826 | 21092103 | 1015652 | 2021-11-18 | 2021-11-22 |  | 2021-11-22 | AIBS_MERSCOPE01 | Triton04 | Gel is curling on a small part of edging | 21101304 | 21092101 | 21092101 | H0-210701 | 10109058 | 21082002 | MKCP0930 | 11 | #0010011202112280000389 | 2021-12-28 | codebook_0_VZG147_0.csv (500 genes) | 202111221149_59475409Mouse500gene_VMSC00401 | 597475409Mouse500gene |  |  | 71.56 | 1:02pm 11/22/2021 | 2:34am 11/24/2021 | 9:45pm 11/23/2021 |  | Successful |  |  |  | No |  | successful | Deleted | Deleted
H19.30.001.Cx46.MTG2.02.007.2.01 | Human |  | VZ1100602_1 | 21101422 | 2021-11-18 | Pass | MerFISH | 140 genes | 2021-11-23 | 9 hours | 21092105 | 21092101 | 21092102 | VZG167a | 21102115 | 2021-11-29 | 2:35pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/1/2021 9:50am | 12/1/22 1pm |  |  |  |  | Gel completely off the coverslip | [20 empty] | aborted |  | Gel came off coverslip
H19.30.001.Cx46.MTG2.02.007.2.03 | Human |  | VZ1100602_1 | 21101422 | 2021-11-18 | Pass | MerFISH | 140 genes | 2021-11-23 | 9 hours | 21092105 | 21092101 | 21092102 | VZG167a | 21102115 | 2021-11-29 | 2:35pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/1/2021 9:50am | 12/1/22 1pm |  | 2021-12-02 | AIBS_MERSCOPE02 | arielle10 | gel lifting on 2 sides | 21102607 | 21092101 | 21092101 | H0-210701 | 10109058 | 21101503 | MKCP0930 | 13 | #0010013202201140000537 | 2022-01-14 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 2021120221529_H1930001Cx46MTG202007203_VMSC01001 | H1930001Cx46MTG202007203 |  |  | 57.82 | 12/2/2021 5:05pm | 12/3/2021 2:17pm | 12/3/2021 10:01am |  | successful | 2021-12-03 | Wrinkly gel |  | successful |  | successful |  |  | yes
H19.30.001.Cx46.MTG2.02.007.2.04 | Human |  | VZ1100602_1 | 21101422 | 2021-11-18 | Pass | MerFISH | 140 genes | 2021-11-23 | 9 hours | 21092105 | 21092101 | 21092102 | VZG167a | 21102115 | 2021-11-29 | 2:35pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/1/2021 9:50am | 12/1/22 1pm |  | 2021-12-02 | AIBS_MERSCOPE01 | triton04 | gel lifting on 1 side of | 21102605 | 21092101 | 21092101 | H0-210701 | 10109058 | 21101503 | MKCP0930 | 12 | #001001220220050000457 | 2022-01-05 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202112021532_H1930001Cx46MTG202007204_vmsc00401 | H1930001Cx46MTG202007204 |  |  | 54.03 | 12/2/2021 4:38pm | 12/3/2021 12:53pm | 12/3/2021 8:45am |  | successful | 2021-12-03 | wrinkly gel |  | successful |  | successful |  |  | yes
594754.03 | Mouse | 54 | V21100601_2 | 21100601 | 2011-11-09 | Unverified | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 11/30/2021 4:13pm | 2021-11-30 | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 2021-12-03 | 2021-12-03 |  | 2021-12-03 | AIBS_MERSCOPE02 | arielle10 | edges curling | 21120210 | 21092101 | 21092101 | 21102110 | 10109058 | IBA-210626 | MKCP0930 | 20 | #0010020202201260000853 | 2022-01-26 | codebook_0_VZG147_0.csv (500 genes) | 202112031526_59475403Mouse500gene_VMSC01001 | 59475403Mouse500gene |  |  | 65.59 | 12/3/2021 4:34pm | 12/5/2021 3:46am | 12/4/2021 7:32pm |  | successful | 12/4/2021 10:05pm |  |  | successful |  | successful |  |  | yes
594754.11 | Mouse | 81 | V21100601_2 | 21100601 | 2011-11-09 | Unverified | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 11/30/2021 4:13pm | 2021-11-30 | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 2021-12-03 | 2021-12-03 |  | 2021-12-03 | AIBS_MERSCOPE01 | triton04 | edges curling | 21101304 | 21092101 | 21092101 | H0-210701 | 10109058 | 21082002 | MKCP0930 | 11 | #0010011202112280000395 | 2021-12-28 | codebook_0_VZG147_0.csv (500 genes) | 202112031714_59475411Mouse500gene_vmsc00401 | 59475411Mouse500gene |  |  | 71.22 | 12/3/2021 6:05pm | 15/5/2021 7:21am | 12/4/2021 10:05pm |  | successful | 12/4/2021 10:22pm | Had issues with the computer getting hung up in a loop. Caused about a 1.5 delay in starting the run from when the sample was ready. Had a high count of transcript detection outside of brain Location of section more like atlas plate 81 |  | successful |  | successful |  |  | yes
594754.13 | Mouse | 81 | V21100601_2 | 21100601 | 2011-11-09 | Unverified | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 11/30/2021 4:13pm | 2021-11-30 | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 2021-12-03 | 2021-12-03 |  | 2021-12-06 |  | arielle10 | edges curling | 21120210 | 21092101 | 21092101 | 21102110 | 10109058 | IBA-210626 | MKCP0930 | 20 | #0010020202201260000851 | 2022-01-26 | codebook_0_VZG147_0.csv (500 genes) | 202112061452_59475412_VMSC01001 | 59475412 |  |  | 70.58 | 12/6/2021 2:52pm | 12/8/2021 4:49am |  |  | Aborted |  | The MERSCOPE Triton04 disconnected from the server and stalled during imaging. |  | Failed |  | Failed |  |  | yes
594754.12 | Mouse | 81 | V21100601_2 | 21100601 | 2011-11-09 | Unverified | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 11/30/2021 4:13pm | 2021-11-30 | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 2021-12-03 | 2021-12-03 |  | 2021-12-06 | AIBS_MERSCOPE01 | arielle10 | edges curling | 21120210 | 21092101 | 21092101 | H0-210701 | 10109058 | IBA-210626 | MKCP0930 | 20 | #0010020202201260000850 | 2022-01-26 | codebook_0_VZG147_0.csv (500 genes) | 202112061434_59475413_VMSC01001 | 59475413 |  |  | 68.38 | 12/6/2021 3:50pm | 12/8/2021 4:07am | 12/7/2021 8:11pm |  | successful | 12/7/2021 9:32pm | was not imaged |  | Successful |  | successful | No | No
H21.33.008.CX26.MTG.02.007.3.01 | Human |  | V21101422_1 | 21101422 | 2021-12-02 | Pass | MerFISH | 140 genes | 2021-12-03 | 72hrs | 21092105 | 21092101 | 21092102 | VZG167a | 21102115 | 12/6/2021 3:40pm | 4:37pm | N/A | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/8/2021 10:00am | 1:50pm | Survey Gel Method Used |  | AIBS_MERSCOPE01 | triton04 | survey gel | 21101505 | 21092101 | 21092101 | H0-210701 | 10109058 | 21082002 | MKCP0930 |  | #0010012202201050000459 | 2022-01-05 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202112091109_H2133001CX46MTG02007301_vmsc00401 | H2133001CX46MTG02007301 |  |  | 19.35 | 12/9/2021 1:20PM | 12/9/2021 1:59AM |  |  | successful |  | Survey Gel Method Used |  | Successful |  | Successful |  |  | yes
H21.33.008.CX26.MTG.02.007.3.02 | Human |  | V21101422_1 | 21101422 | 2021-12-02 | pass | MerFISH | 140 genes | 2021-12-03 | 72hrs | 21092105 | 21092101 | 21092102 | VZG167a | 21102115 | 12/6/2021 3:40pm | 4:37pm | N/A | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/8/2021 10:00am | 1:50pm | Survey Gel Method Used |  | AIBS_MERSCOPE02 | arielle10 | survey gel | 21102805 | 21092101 | 21092101 | H0-210701 | 10109058 | 21101503 | MKCP0930 | 12 | #0010012202201050000454 | 2022-01-05 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202112091159_H2133001CX46MTG02007302_VMSC01001 | H2133001CX46MTG02007302 |  |  | 19.77 | 12/9/2021 12:20pm | 12/9/2021 11:30pm |  |  | Successful |  | Survey Gel Method Used |  | Successful |  | Successful |  |  | yes
H21.33.008.CX26.MTG.02.007.3.04 | Human |  | V21101422_1 | 21101422 | 2021-12-02 | Pass | MerFISH | 140 genes | 2021-12-03 | 72hrs | 21092105 | 21092101 | 21092102 | VZG167a | 21102115 | 12/6/2021 3:40pm | 4:37pm | N/A | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/8/2021 10:00am | 1:50pm | Survey Gel Method Used | 2021-12-10 | AIBS_MERSCOPE01 | triton04 | survey gel | 21101504 | 21092101 | 21092101 | H0-210701 | 10109058 | 21082002 | MKCP0930 | 11 |  | 2021-12-28 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202112101344_H2133001Cx46MTG02007304_vmsc00401 | H2133001Cx46MTG02007304 |  |  | 23.44 | 12/10/2021 ~3:10pm | 12/11/2021 3:18am | 12/11/2021 12:51am |  | Successful | 12/11/2021 8:47pm | Survey Gel Method Used |  | Yes |  |  |  |  | yes
H21.33.008.CX26.MTG.02.007.1.2.05 | Human |  | V21100602_1 | 21100602 | 2021-12-02 | Pass | MerFISH | 140 genes | 2021-12-03 | 72hrs | 21092105 | 21092101 | 21092102 | VZG167a | 21102115 | 12/6/2021 3:40pm | 4:37pm | N/A | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/8/2021 10:00am | 1:50pm | Survey Gel Method Used | 2021-12-10 | AIBS_MERSCOPE02 | arielle10 | survey gel edges slightly peeling | 21101504 | 21092101 | 21092101 | H0-210701 | 10109058 | 21082002 | MKCP0930 | 11 | #0010011202112280000384 | 2021-12-28 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202112101342_H1930001Cx46MTG0202007205_VMSC01001 | H1930001Cx46MTG0202007205 | No image |  | 60.44 | 12/10/2021 ~3:30pm | 12/11/2021 1:45pm | 12/11/2021 9:17am |  | Successful | 12/11/2021 8:32pm | Survey Gel Method Used (according to the files this one was not imaged) |  | Yes
H21.30.008.CX26.MTG.02.007.1.2.06 | Human |  | V21100602_1 | 21100602 | 2021-12-02 | Pass | MerFISH | 140 genes | 2021-12-03 | 72hrs | 21092105 | 21092101 | 21092102 | VZG167a | 21102115 | 12/6/2021 3:40pm | 4:37pm | N/A | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/8/2021 10:00am | 1:50pm | Survey Gel Method Used |  |  |  | Half of the gel came up during washing | [20 empty] | aborted |  | Survey Gel Method Used - half the gel came up (according to the files this one was images) | [6 empty] | yes
594754.14 | Mouse | 81 | V21100601_2 | 21100601 | 2011-11-09 | Unverified | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 12/8/2021 3:57pm |  | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 12/10/2021 9:40am | 12:30pm | Looks good | 2021-12-13 | AIBS_MERSCOPE01 | triton04 | Gel curling on edges | 21120210 | 21092101 | 21092101 | H0-210701 | 10109058 | IBA-210626 | MKCP0930 | 20 | #0010020202201260000849 | 2022-01-26 | codebook_0_VZG147_0.csv (500 genes) | 202112131150_59475414_vmsc00401 | 59475414 |  |  | 63.19 | 2021-12-13 13:45 | 12/14/2021 11:50pm | 12/14/2021 3:21pm | 26 hours | successful | 12/14/2021 4:44pm |  |  | Successful | Successful | Successful |  |  | yes
594754.15 | Mouse | 81 | V21100601_2 | 21100601 | 2011-11-09 | Unverified | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 12/8/2021 3:57pm |  | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 12/10/2021 9:40am | 12:30pm | looks good | 2021-12-13 | AIBS_MERSCOPE02 | arielle10 | Gel curling on edges | 21120210 | 21092101 | 21092101 | H0-210701 | 10109058 | IBA-210626 | MKCP0930 | 20 | #0010020202201260000847 | 2022-01-26 | codebook_0_VZG147_0.csv (500 genes) | 202112131337_59475415Mouse500gene_VMSC01001 | 59475415Mouse500gene |  |  | 66.02 | 12/13/2021 2:54pm | 12/15/2021 2:09am | 12/14/2021 5:48pm | 27hours | successful | 12/14/2021 9:24pm |  |  | Successful | Successful | Successful |  |  | yes
H21.33.013.Cx24.MTG.02.007.1.02 | Human |  | V21100601_2 | 21100601 | 2021-12-09 | Pass | MerFISH | 140 genes | 12/13/2021 at 4:15pm | 47 hours | 21092105 | 21092101 | 21092102 | VZG167a | 21092307 | 12/15/2021 3:30pm | 12/15/2021 4:20pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/17/2021 11am | 2:24pm | looks good | 2021-12-20 | AIBS_MERSCOPE02 | Arielle10 | curling on edges | 21102605 | 21092101 | 21092102 | H0-210701 | 10109058 | IBA-210626 | MKCP2347 | 12 | #0010012202201050000458 | 2022-01-05 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202112201052_H213303cx24mtg02007102_VMSC01001 | H213303Cx24MTG02007102 |  |  | 21.33 | 12/20/2021 12:10pm | 12/20/2021 11:29pm | 12/20/2021 9:16pm |  | successful | 12/21/2021 2:27am |  |  | Successful | started | Successful |  |  | yes
H21.33.013.Cx24.MTG.02.007.1.03 | Human |  | V21100601_2 | 21100601 | 2021-12-09 | Pass | MerFISH | 140 genes | 12/13/2021 at 4:15pm | 47 hours | 21092105 | 21092101 | 21092102 | VZG167a | 21092307 | 12/15/2021 3:30pm | 12/15/2021 4:20pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/17/2021 11am | 2:24pm | looks good | 2021-12-21 | AIBS_MERSCOPE02 | Arielle10 | curling on edges on one side | 21111504 | 21092101 | 21092102 | 21102110 | 10109058 | IBA-210626 | MKCP2347 | 13 | #0010013202201140000529 | 2022-01-14 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202112211019_H213303Cx24MTG02007103_VMSC01001 | H213303Cx24MTG02007103 |  |  | 18.1 | 12/21/2021 11:47am | 12/21/2021 10:22pm | 12/21/2021 8:15pm |  | successful | 12/22/2021 5:31am |  |  | started | started | Successful |  |  | yes
H21.33.013.Cx24.MTG.02.007.1.04 | Human |  | V21100601_2 | 21100601 | 2021-12-09 | Pass | MerFISH | 140 genes | 12/13/2021 at 4:15pm | 47 hours | 21092105 | 21092101 | 21092102 | VZG167a | 21102115 | 12/15/2021 3:30pm | 12/15/2021 4:20pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10112433 | 12/17/2021 11am | 2:24pm | looks good | 2021-12-21 | AIBS_MERSCOPE01 | Triton04 | curling on edges on one side | 21111505 | 21092101 | 21092102 | 21102110 | 10109058 | 21101503 | MKCP2347 |  | #0010015202201260000660 | 2022-01-26 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202112211359_H213303Cx24MTG02007104_VMSC00401 | H213303Cx24MTG02007104 |  |  | 27.34 | 12/21/2021 3:20pm | 12/22/2021 4:20am | 12/22/2021 1:32am |  | successful | 12/22/2021 5:40am | The segmentation selection was not as clear as it normally is. |  | started |  | started |  |  | yes
602520.01 | Mouse | 54 | V21101422_2 |  | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/05/2022 11:58am | 1/5/2022 12:45pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-07 | 1/7/2022 4:05pm | looks good | 2022-01-10 | AIBS_MERSCOPE02 | Arielle10 | curling on edges on one side. There is a small piece of gel lifting. | 21121010 | 21092101 | 21092102 | 21102110 | 10109058 | IBA-210626 | MKCP2347 |  | #0010019202203010000839 | 2022-03-01 | codebook_0_VZG147_0.csv (500 genes) | 202201100644_60252001_VMSC1001 | 60252001 |  |  | 59.73 | 1/10/2022 7:48am | 1/11/2022 5:35pm | 1/11/2022 8:49am |  | Successful |  | Large tears in tissue |  | Successful |  | Successful |  |  | yes
602520.02 | Mouse | 54 | V21101422_2 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/05/2022 11:58am | 1/5/2022 12:45pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-07 | 1/7/2022 4:05pm | looks good | 2022-01-10 | AIBS_MERSCOPE01 | Triton04 | curling on edges on one side | 21121010 | 21092101 | 21092102 | 21102110 | 10109058 | IBA-210626 | MKCP2347 | 19 | #0010019202203010000838 | 2002-03-01 | codebook_0_VZG147_0.csv (500 genes) | 202201100648_60252002_vmsc00401 | 60252002 |  |  | 62.05 | 1/10/2022 7:55am | 1/11/2022 4:40pm | 1/11/2022 9:08am |  | Successful |  |  |  | Successful |  | Successful |  |  | yes
602520.06 | Mouse | 77 | V21101422_2 |  | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/05/2022 11:58am | 1/5/2022 12:45pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-07 | 1/7/2022 4:05pm | looks good | 2022-01-11 | AIBS_MERSCOPE02 | arielle10 | some curling |  |  | 21092102 | 21102110 | 10109058 | 21120213 | MKCP2347 | 19 |  | 2022-03-01 | codebook_0_VZG147_0.csv (500 genes) |  | 60252006 |  |  |  | 2022-01-11 |  |  |  | Aborted |  | Lost sample due to pressure break. There was a clog in the MERSCOPE fluidics system that Vizgen had to walk us through unclogging.
602520.07 | Mouse | 77 | V21101422_2 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/05/2022 11:58am | 1/5/2022 12:45pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-07 | 1/7/2022 4:05pm | looks good | 2022-01-11 | AIBS_MERSCOPE01 | triton04 | some curling | 21121010 | 21092101 | 21092102 | 21102110 | 10109058 | IBA-210626 | MKCP2347 | 19 | #0010019202203010000843 | 2022-03-01 | codebook_0_VZG147_0.csv (500 genes) | 202201111104_60252007_vmsc00401 | 60252007 |  |  | 68.18 | 1/11/2022 12:04pm | 1/13/2022 12:14am | 1/12/2022 3:09pm |  | Successful | 1/12/2022 4:54pm | Most of the tissue seems to be out of focus. | [6 empty] | yes
602520.11 | Mouse | 81 | V21101422_2 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/05/2022 11:58am | 1/5/2022 12:45pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-07 | 1/7/2022 4:05pm | looks good | 2022-01-11 | AIBS_MERSCOPE02 | arielle10 | some curling | 21112010 | 21092101 | 21092102 | 21102110 | 10109058 | IBA-210626 | MKCP2347 | 19 | #0010019202203010000845 | 2022-03-01 | codebook_0_VZG147_0.csv (500 genes) | 202201111506_60252011_VMSC01001 | 60252011 |  |  | 57.83 | 2022-01-11 04:12 |  | 1/12/2022 4:42pm |  | Successful | 1/12/2022 4:54pm | Part of cortex are missing (out of focus). No segmentation there and low transcript counts | [6 empty] | yes
602520.12 | Mouse | 81 | V21101422_2 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/05/2022 11:58am | 1/5/2022 12:45pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-07 | 1/7/2022 4:05pm | looks good | 2022-01-12 | AIBS_MERSCOPE02 | arielle10 | Curling on and slight lifting on one side | 21120210 | 21092101 | 21092102 | 21102110 | 10109058 | IBA-210626 | MKCP2347 | 20 | #0010020202201260000855 | 2022-01-26 | codebook_0_VZG147_0.csv (500 genes) |  | 60252012 |  |  | 57 | 1/12/2022 7:07pm | 1/14/2022 2:49am | 1/13/2022 7:44pm |  | Successful | 1/14/2022 9:11am | small piece of cortex missing | [6 empty] | yes
602520.05 | Mouse | 54 | V21101422_2 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/10/2022 ~11am | 1/10/2022 11:47am | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-12 | 1/12/2022 2pm | looks good | 2022-01-13 | AIBS_MERSCOPE01 | Triton04 | Well attached | 21120210 | 21092101 | 21092102 | 21102110 | 10109058 | IBA-210626 | MKCP2347 | 20 | [12 empty] | aborted |  | MERSCOPE Jammed. Cartridge door could not close. Waiting for Vizgen to remote in and fix.
602520.1 | Mouse | 77 | V21101422_2 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/10/2022 ~11am | 1/10/2022 11:47am | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-12 | 1/12/2022 2pm | looks good | 2022-01-14 | AIBS_MERSCOPE01 | Triton04 | Well attached | 21120210 | 21092101 | 21092102 | 21102110 | 10109058 | IBA-210626 | MKCP2347 | 20 | #0010020202201260000856 | 2022-01-26 | codebook_0_VZG147_0.csv (500 genes) | 20221141253_60252010_vmsc00401 | 60252010 |  |  | 60.01 | 1/14/2022 3:05pm | 1/16/2022 12:59am | 1/15/2022 4:27pm |  | Successful | 1/16/2022 6:17pm | [7 empty] | yes
602521.01 | Mouse | 54 | V21101422_2 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/10/2022 ~11am | 1/10/2022 11:47am | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-12 | 1/12/2022 2pm | looks good | 2022-01-14 | AIBS_MERSCOPE02 | arielle10 | Well attached | 21120210 | 21092101 | 21092102 | 21102110 | 10109058 | IBA-210626 | MKCP2347 | 20 | #0010020202201260000854 | 2022-01-26 | codebook_0_VZG147_0.csv (500 genes) | 202201141258_60252101_vmsc01001 | 60252101 |  | No image | 57.51 | 1/14/2022 2:59pm | 1/16/2022 2:07am | 1/15/2022 4:46pm |  | Successful | 1/16/2022 6:23pm | There seem to be two analysis results present in the output folder | [6 empty] | yes
602521.02 | Mouse | 54 | V21101422_2 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/10/2022 ~11am | 1/10/2022 11:47am | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-12 | 1/12/2022 2pm | looks good | 2022-01-18 | AIBS_MERSCOPE02 | arielle10 | slight curling on edges | 21121717 | 21092101 | 21092102 | 21120110 | 10109058 | IBA-210626 | MKCP2347 | 21 | 0010021202203070000916 | 2022-03-07 | codebook_0_VZG147_0.csv (500 genes) | 202201180956_60252102_VMSC01001 | 60252102 |  |  | 52.42 | 1/18/2022 10:48am | 1/19/2022 4:40pm | 1/19/2022 11:34am |  | Successful | 1/19/2022 11:36am
602521.07 | Mouse | 77 | V21101422_1 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/10/2022 ~11am | 1/10/2022 11:47am | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-12 | 1/12/2022 2pm | looks good | 2022-01-18 | AIBS_MERSCOPE01 | Triton04 | slight curling on edges | 21120210 | 21092101 | 21092102 | HO-210701 | 10109058 | IBA-210626 | MKCP2347 | 20 | 0010020202201260000848 | 2022-01-26 | codebook_0_VZG147_0.csv (500 genes) | 202201180959_60252107_vmsc00401 | 60252107 |  |  | 67.65 | 1/18/2022 10:55am | 1/19/2022 10:25pm |  |  | Successful |  | Low transcript count most likely due to bad focusing of some tiles. (similar to 602520.13 but this time not obvious from the overview) Also. a very low transcript count
602521.06 | Mouse | 77 | V21101422_1 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21110809 | 1/10/2022 ~11am | 1/10/2022 11:47am | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092103 | 10105652 | 2022-01-12 | 1/12/2022 2pm | looks good,small but still covering tissue | 2022-01-19 | AIBS_MERSCOPE02 | arielle10 | curling on edges | 22011003 | 21092101 | 21092102 | 21120110 | 10109058 | 22010607 | MKCP2347 | 21 | 0010021202203070000919 | 2022-03-07 | codebook_0_VZG147_0.csv (500 genes) | 202201191455_60252106_VMSC01001 | 60252106 |  |  | 67.81 | 1/19/2022 3:50pm | 1/21/2022 3:43pm |  | 1/20/2022 10pm | successful | 1/21/2022 10:45am
602521.03 | Mouse |  | V21101422_1 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21120205 | 1/12/2022 5:03pm | 1/12/2022 5:43pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092001 | 10105652 | 2022-01-14 | 1/14/2022 7:56pm | Gel lefted | [26 empty] | Gel coming off
602521.04 | Mouse |  | V21101422_1 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21120205 | 1/12/2022 5:03pm | 1/12/2022 5:43pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092001 | 10105652 | 2022-01-14 | 1/14/2022 7:56pm | Gel comletely off | [26 empty] | Gel coming off
602521.08 | Mouse | 77 | V21101422_1 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21120205 | 1/12/2022 5:03pm | 1/12/2022 5:43pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092001 | 10105652 | 2022-01-14 | 1/14/2022 7:56pm | [27 empty] | Sample Expired due to time.
602521.05 | Mouse |  | V21101422_1 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21120205 | 1/12/2022 5:03pm | 1/12/2022 5:43pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092001 | 10105652 | 2022-01-14 | 1/14/2022 7:56pm |  |  | AIBS_MERSCOPE01 | triton04 | Curling on and slight lifting on one side | 21121719 | 21092101 | 21102504 | 21120110 | 10109058 |  | MKCP2347 | 21 | 001002120223070000922 | 2022-03-07 | codebook_0_VZG147_0.csv (500 genes) | 202201211639_60252014_vmsc01001 | 60252105 |  |  | 62.46 | 1/21/2022 8:34pm | 2022-01-23 06:07 | 1/22/2022 9:25pm |  | completed | 1/23/2022 10:16am | This specimen should be failed as there was a MERSCOPE problem. It was eventually fixed but still took over 3 hours from DAPI staining before MERSCOPE imaging started. In addition there are large holes in the tissue. In the future such a slice shouldn't be even attempted to run
602520.13 | Mouse | 81 | V21101422_2 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21120205 | 1/12/2022 5:03pm | 1/12/2022 5:43pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092001 | 10105652 | 2022-01-14 | 1/14/2022 7:56pm |  | 2022-01-18 | AIBS_MERSCOPE01 | Triton04 | curling on edges | 22011003 | 21092101 | 21092102 | 21120110 | 10109058 | 22010607 | MKCP2347 | 21 | 0010021202203070000921 | 2022-03-07 | codebook_0_VZG147_0.csv (500 genes) |  | 60252013 |  |  | 57.83 | 1/19/2022 2:56pm | 1/20/2022 11:48PM | 1/20/2022 4:00pm |  | successful |  | Focus issues (some tiles weren't even imaged). Already apparent in the overview. Next time run should be aborted
602520.14 | Mouse | 81 | V21101422_2 | 21101422 | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21092102 | VZG147 | 21120206 | 1/12/2022 5:03pm | 1/12/2022 5:43pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092001 | 10105652 | 2022-01-14 | 1/14/2022 7:56pm |  |  | AIBS_MERSCOPE02 | arielle10 | Curling on and slight lifting on one side | 21121717 | 21092101 | 21102504 | 21120110 | 10109058 | 21120213 | MKCP2347 | 21 | 0010021202203070000922 | 2022-03-07 | codebook_0_VZG147_0.csv (500 genes) | 20221211643_60252105_vmsc00401 | 60252014 |  |  | 60.31 | 1/21/2022 5:56pm | 1/23/2022 2:54am | 1/23/2022 12:55am |  | successful | 1/23/2022 10:20am
602520.04 | Mouse |  |  |  | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21102504 | VZG147 | 21120206 | 2022-01-19 | 1/19/2022 2:48pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092001 | 10112433 | 1/21/2022 10:50am | 1/21/2022 2:10pm | looks good | 2022-01-24 | AIBS_MERSCOPE02 |  | Curling | 22011003 | 21092101 | 21102504 | 21120110 | 10109058 | 22010607 | MKCP2347 | 21 | 0010021202203070000915 | 2022-03-07 | codebook_0_VZG147_0.csv (500 genes) | [11 empty] | during the Wet chamber step of the process no liquid pulled out of the cartridge. I attempted 3 times then aborted the run. Restarted the run and instead of reattaching the chamber I attached the bypass. During the fluidics prim there was not liquids passing through the tubing. Once again attached the chamber with the same results no liquid filled the chamber. I will fail this run.
602520.08 | Mouse |  |  |  | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21102504 | VZG147 | 21120206 | 2022-01-19 | 1/19/2022 2:48pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092001 | 10112433 | 1/21/2022 10:50am | 1/21/2022 2:10pm | looks good | 2022-01-24 | AIBS_MERSCOPE01 | Triton04 | Curling on and slight lifting on one side | 22011003 | 21092101 | 21102504 | 21120110 | 10109058 | 22010607 | MKCP2347 | 21 | 0010021202203070000920 | 2022-03-07 | codebook_0_VZG147_0.csv (500 genes) |  | 60252008 |  |  | 64.88 | 1/24/2022 6:55pm | 1/26/2022 6:20am |  |  | successful
602520.09 | Mouse |  |  |  | 2021-12-16 | Pass | MerFISH | 500 genes | N/A | N/A | 21092105 | 21092101 | 21102504 | VZG147 | 21120206 | 2022-01-19 | 1/19/2022 2:48pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092001 | 10112433 | 1/21/2022 10:50am | 1/21/2022 2:10pm
H19.30.002.Cx46.MTG2.02.007.1.02 | Human |  | V-21121610_1 | 21121610 | 2022-01-20 | Pass | MerFISH | 140 genes | 01/21/22 11:30am | 72 hrs | 21092105 | 21092101 | 21102504 | VZG167a | 21102115 | 2022-01-24 | 1/24/2022 2:30pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21102001 | 10105652 | 1/26/2022 10am | 1/26/2022 1:30pm | looks good | 2022-01-27 | AIBS_MERSCOPE02 | Arielle10 | curling edges | 22011002 | 21092101 | 21102504 | 21120110 | 10109058 | 22010607 | MKCP2347 | 22 | 0010022202205140000950 | 2022-05-14 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202201271619_H1930002Cx46MTG202007102_VMSC01001 | H1930002Cx46MTG202007102 |  |  | 59.14 | 1/27/2022 5:42pm |  | 1/28/2022 11:05am
H19.30.002.Cx46.MTG2.02.007.1.03 | Human |  | V-21121610_2 | 21121610 | 2022-01-20 | Pass | MerFISH | 140 genes | 01/21/22 11:30am | 72 hrs | 21092105 | 21092101 | 21102504 | VZG167a | 21102115 | 2022-01-24 | 1/24/2022 2:30pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21102001 | 10105652 | 1/26/2022 10am | 1/26/2022 1:30pm | looks thin, try not to use | 2022-01-27 | AIBS_MERSCOPE02 | Arielle10 | Curling edges | 22011002 | 21092101 | 21102504 | 21120110 | 10109058 | 22010607 | MKCP2347 |  |  | 2022-05-14 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202201271215_H1930002Cx46MTG202007103_VMSC01001 | H1930002Cx46MTG202007103
H19.30.002.Cx46.MTG2.02.007.1.04 | Human |  | V-21121610_2 | 21121610 | 2022-01-20 | Pass | MerFISH | 140 genes | 01/21/22 11:30am | 72 hrs | 21092105 | 21092101 | 21102504 | VZG167a | 21102115 | 2022-01-24 | 1/24/2022 2:30pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21102001 | 10105652 | 1/26/2022 10am | 1/26/2022 1:30pm | looks good | [10 empty] | MKCP2347 | 21 | 0010021202203070000879 | 2022-03-07 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) |  | H1930002Cx46MTG202007104 |  |  | 66.87 | 1/28/2022 12:28pm | 1/29/2021 12:11pm | 1/29/2022 7:08am |  | successful
H19.30.002.Cx46.MTG2.02.007.1.05 | Human |  | V-21121610_2 | 21121610 | 2022-01-20 | Pass | MerFISH | 140 genes | 01/21/22 11:30am | 72 hrs | 21092105 | 21092101 | 21102504 | VZG167a | 21102115 | 2022-01-24 | 1/24/2022 2:30pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21102001 | 10105652 | 1/26/2022 10am | 1/26/2022 1:30pm | looks good | 2022-01-27 | AIBS_MERSCOPE01 | Triton04 | curling edges | 21121715 | 21092101 | 21102504 | 21120110 | 10109058 | 21120213 | MKCP2347 | 21 | 0010021202203070000880 | 2022-03-07 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202201271624_H1930002Cx46MTG202007105_vmsc00401 | H1930002Cx46MTG202007105 |  |  |  |  | 1/28/2022 1:45pm | 1/28/2022 9:28am
H21.33.013.CX24.MTG.02.007.1.05 | Human |  | V21100601_2 | 21100601 | 2021-12-09 | Pass | MerFISH | 140 genes | 2022-01-18 | 72 hrs | 21092105 | 21092101 | 21102504 | VZG167a | 21102115 | 2022-01-24 | 1/24/2022 2:30pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21102001 | 10105652 | 1/26/2022 10am | 1/26/2022 1:30pm | looks good | [14 empty] | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202201281456_H2133013Cx24MTG02007105_VMSC01001 | H2133013Cx24MTG02007105
H21.33.013.CX24.MTG.02.007.1.06 | Human |  | V21100601_2 | 21100601 | 2021-12-09 | Pass | MerFISH | 140 genes | 2022-01-18 | 72 hrs | 21092105 | 21092101 | 21102504 | VZG167a | 21102115 | 2022-01-24 | 1/24/2022 2:30pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21102001 | 10105652 | 1/26/2022 10am | 1/26/2022 1:30pm | looks good | 2022-02-01 | AIBS_MERSCOPE02 | Arielle10 | curling edges | 21121715 | 21120301 | 21120307 | 21120110 | 10109058 | 21120213 | MKCP2347 | 21 | 0010021202203070000932 | 2022-03-07 | codebook_0_VZG167aAllenHuman_0.csv (140 genes) | 202201311715_H2133013Cx24MTG02007106_VMSC01001 | H2133013Cx24MTG02007106 |  |  |  | 2/1/2022 6:00PM |  | 2/1/2022 6:00am |  | successful | 2/1/2022 8:21am
605355.01 | Mouse |  | V21121610_1 | 21121610 | 2022-01-13 | Pass | MerFISH | 500 genes | N/A | N/A | 21121705 | 21120301 | 21120307 | VZG147 | 21120206 | 2022-01-28 | 1/28/2022 3:50pm | 21120812 | 0000991889 | MKG5404 | 64310880 | 21120814 | 10105652 | 2022-02-02 | 2/2/2022 6:30pm | looks good | 2022-02-04 | AIBS_MERSCOPE_02 | Arielle10 | wrinkly gel | 22011003 | 21120301 | 21120307 | 21120110 | 10109058 | 22010607 | MKCP2347 |  | 0010021202203070000929 |  | codebook_0_VZG147_0.csv (500 genes) | 202202041339_60535501_VMSC01001 | 60535501 |  |  | 55.71 | 2/4/2022 2:56PM | 2/5/2022 9:58PM |  |  |  |  | Gel slick was dried off on its own and was cleaned with lens wipes. This made removal of the coverslips much easier. The dishes were also embedded in sets of three to avoid having them sit too long in embedding solution after the spwb wash. |  |  |  | yes |  |  | yes
605355.02 | Mouse |  | VZ1121610_1 | 21121610 | 2022-01-13 | Pass | MerFISH | 500 genes | N/A | N/A | 21121705 | 21120301 | 21120307 | VZG147 | 21120206 | 2022-01-28 | 1/28/2022 3:50pm | 21120812 | 0000991889 | MKG5404 | 64310880 | 21120814 | 10105652 | 2022-02-02 | 2/2/2022 6:30pm | looks good | 2022-02-04 |  | Flounder16 | wringly gel | 21121719 | 21120301 | 21120307 | 21120110 | 10109058 | 21121718 | MKCP2347 | 21 | 0010021222203070000924 |  | codebook_0_VZG147_0.csv (500 genes) | 202202041346_60535502_VMSC01601 | 60535502 |  |  | 54.87 | 2/4/2022 3:11PM | 2/5/2022 10:00PM |  |  |  |  | Gel slick was dried off on its own and was cleaned with lens wipes. This made removal of the coverslips much easier. The dishes were also embedded in sets of three to avoid having them sit too long in embedding solution after the spwb wash. |  |  |  | yes |  |  | yes
605355.03 | Mouse |  | VZ1121610_1 | 21121610 | 2022-01-13 | Pass | MerFISH | 500 genes | N/A | N/A | 21121705 | 21120301 | 21120307 | VZG147 | 21120206 | 2022-01-28 | 1/28/2022 3:50pm | 21120812 | 0000991889 | MKG5404 | 64310880 | 21120814 | 10105652 | 2022-02-02 | 2/2/2022 6:30pm | looks good | 2022-02-08 |  | Triton04 | spot on edge | 21121719 | 21092107 | 21120307 | 21120110 | 10109058 | 21121718 | MKCP2347 | 21 | 0010021222203070000925 |  | codebook_0_VZG147_0.csv (500 genes) | 202202071654_60535503_VMSC00401 | 60535503 |  |  | 54.26 | 2/8/2022 6:46PM | 2/9/2022 1:17AM |  |  |  |  | Gel slick was dried off on its own and was cleaned with lens wipes. This made removal of the coverslips much easier. The dishes were also embedded in sets of three to avoid having them sit too long in embedding solution after the spwb wash.
605356.02 | Mouse |  | V21121610_2 | 21121610 | 2022-01-13 | Pass | MerFISH | 500 genes | N/A | N/A | 21121705 | 21120301 | 21120307 | VZG147 | 21120206 | 2022-01-28 | 1/28/2022 3:50pm | 21120812 | 0000991889 | MKG5404 | 64310880 | 21120814 | 10105652 | 2022-02-02 | 2/2/2022 6:30pm | looks good but was still wet when the coverslip was removed | 2022-02-04 | AIBS_MERSCOPE_01 | Triton04 | wet gel when coverslip removed, good. Looked good the day after. On imaging day, it looked wrinkly. | 21121719 | 21120301 | 21120307 | 21120110 | 10109058 | 21121718 | MKCP2347 |  | 0010021202203070000923 |  | codebook_0_VZG147_0.csv (500 genes) | 2022020411508_60535602_vmsc00401 | 60535602 |  |  | 61.33 | 2/4/2022 3:55PM | 2/5/2022 2:12AM |  |  |  |  | Gel slick was dried off on its own and was cleaned with lens wipes. This made removal of the coverslips much easier. The dishes were also embedded in sets of three to avoid having them sit too long in embedding solution after the spwb wash. |  |  |  | yes |  |  | yes
605356.03 | Mouse |  | V21121610_2 | 21121610 | 2022-01-13 | Pass | MerFISH | 500 genes | N/A | N/A | 21121705 | 21120301 | 21120307 | VZG147 | 21120206 | 2022-01-28 | 1/28/2022 3:50pm | 21120812 | 0000991889 | MKG5404 | 64310880 | 21120814 | 10105652 | 2022-02-02 | 2/2/2022 6:30pm | looks good | 2022-02-04 |  | Arielle10 | good | 21121717 | 21092107 | 21120307 | 21120110 | 10109058 | 21121718 | MKCP2347 | 21 | 0010021202203070000908 |  | codebook_0_VZG147_0.csv (500 genes) | 202202071647_60535603_VMSC01001 | 60535603 |  |  | 61.69 | 2/8/2022 6:03PM | 2/9/2022 3:28AM |  |  |  |  | Gel slick was dried off on its own and was cleaned with lens wipes. This made removal of the coverslips much easier. The dishes were also embedded in sets of three to avoid having them sit too long in embedding solution after the spwb wash.
605356.04 | Mouse |  | V21121610_2 | 21121610 | 2022-01-13 | Pass | MerFISH | 500 genes | N/A | N/A | 21121705 | 21120301 | 21120307 | VZG147 | 21120206 | 2022-01-28 | 1/28/2022 3:50pm | 21120812 | 0000991889 | MKG5404 | 64310880 | 21120814 | 10105652 | 2022-02-02 | 2/2/2022 6:30pm | looks good | 2022-02-04 |  | Flounder16 | spot on edge | 21121717 | 21092107 | 21120307 | 21120110 | 10109058 | 21121718 | MKCP2347 | 21 | 0010021202203070000908 |  | codebook_0_VZG147_0.csv (500 genes) | 202202071650_60535604_vmsc01601 | 60535604 |  |  | 54.5 | 2/8/2022 6:16PM | 2022-02-09 00:42 |  |  |  |  | Gel slick was dried off on its own and was cleaned with lens wipes. This made removal of the coverslips much easier. The dishes were also embedded in sets of three to avoid having them sit too long in embedding solution after the spwb wash. After imaging lower left corner was not in focus. Either gel came loose or MERSCOPE had issues focusing (The overview shows the lower left a bit out of focus. This may be a tissue issue prior to imaging-JC)

## Verification Runs
Specimen | Species | coverslip batch | coverslip LN | Section Date | Prep Type | Human Light Treatment | Human Light Treatment time | HYB start | Sample Prep Kit LN | Sample wash buffer | Formamide wash buffer | Verification Probe LN | HYB end | W/E/D start | Gel Slick L/N | APS L/N | TEMED | Formamide Wash Buffer | Sample Wash Buffer | Proteinase K | W/E/D end | Human Light Treatment | Notes | Run Date | MERSCOPE | Imaging buffer | Verification staining reagent | Formamide Wash Buffer | Imaging activator | Sample Wash Buffer | Run Start Time | Run Name | Experiment name | Run end time | Overview Image | Size (mm2) | Disposition
Macaque 01(QM21.26.003.Cx07.MTG.02.007.1.01.10) | Macaque | VZ1100601_1 | 21100601 | 2021-10-21 | Verification |  |  | 2021-10-25 | 21092105 | 21092101 | 21092102 |  | 2021-10-27 | 2021-10-27 | 0000991889 | MKG5404 | 64310880 |  |  |  | 2021-10-28 | [15 empty] | Successful
Macaque 02 (QM21.26.003.Cx07.MTG.02.007.1.01.10) | Macaque | VZ1100601_1 | 21100601 | 2021-10-21 | Verification |  |  | 2021-10-25 | 21092105 | 21092101 | 21092102 |  | 2021-10-27 | 2021-10-27 | 0000991889 | MKG5404 | 64310880 |  |  |  | 2021-10-28 |  |  | 2021-10-28 | Dotty | 21091602 | 21092401 | [9 empty] | Successful
H19.30.001.CX46.MTG.02.007.1.01 | Human | VZ1100601_1 | 21100601 | 2021-10-21 | Verification |  |  | 2021-10-25 | 21092105 | 21092101 | 21092102 |  | 2021-10-27 | 2021-10-27 | 0000991889 | MKG5404 | 64310880 |  |  |  | 2021-10-28 | [15 empty] | Successful
H19.30.001.CX46.MTG.02.007.1.01 | Human | VZ1100601_1 | 21100601 | 2021-10-21 | Verification |  |  | 2021-10-25 | 21092105 | 21092101 | 21092102 |  | 2021-10-27 | 2021-10-27 | 0000991889 | MKG5404 | 64310880 |  |  |  | 2021-10-28 | [15 empty] | Successful
587754.01 | Mouse | V21100601_2 | 21100601 | 2021-10-21 | Verification |  |  | 2021-10-25 | 21092105 | 21092101 | 21092102 |  | 2021-10-27 | 2021-10-27 | 0000991889 | MKG5404 | 64310880 |  |  |  | 2021-10-28 |  |  | 2021-10-28 | Dotty | 21091602 | 21092401
587754.02 | Mouse | V21100601_2 | 21100601 | 2021-10-21 | Verification |  |  | 2021-10-25 | 21092105 | 21092101 | 21092102 |  | 2021-10-27 | 2021-10-27 | 0000991889 | MKG5404 | 64310880 |  |  |  | 2021-10-28
594754 | Mouse
594754.01 | Mouse | VZ1100601_2 | 21100601 | 2021-11-09 | Verification |  |  | 2021-11-10 |  | 21092101 | 2109102 | 21092306 | 11/10/2021 Noon | 11/11/2021 11:20am | 0000991889 | MKG5404 | 64310880 |  |  |  | 2021-11-11 |  | Gel edges are peeling 11/15/2021
594754.02 | Mouse | VZ1100601_2 | 21100601 | 2021-11-09 | Verification |  |  | 2021-11-10 |  | 21092101 | 2109102 | 21092306 | 11/10/2021 Noon | 11/11/2021 11:20am | 0000991889 | MKG5404 | 64310880 |  |  |  | 2021-11-11 |  | Gel edges are peeling 11/15/2021
H19.30.001.Cx46.MTG2.02.007.2.02 | Human | VZ1100602_1 | 21101422 | 2021-11-18 | Verification | 2021-11-23 | 9 hours | 2021-11-29 |  | 21092101 | 2109102 | 21082504 | 2:30pm | 11/30/2021 3:38pm | 0000991889 | MKG5404 | 64310880 |  | 21092101 | 10112433 | 12/1/2021 4:00pm | 2021-11-23 |  | 2021-12-01 | Ariel 10 | 21091602 | 21092401 | 21092101 | 21082002 | 21092101 | 12/1/2021 5:21pm |  |  |  |  | 57.35 | Successful
H21.33.008.CX26.MTG.02.007.3.03 | Human | V21100601_2 | 21100601 | 2021-12-02 | Verification | 2021-12-03 | 72hrs | 12/6/2021 3:40pm | 21092105 | 21092101 | 2109102 | 21082504 | 4:37pm | 12/7/2021 10:50am | 0000991889 | MKG5404 | 64310880 |  | 21092101 | 10112433 | 12/7/2021 2:00pm | 2021-12-03 | gel completely intact | 2021-12-08 | Ariel 10 | 21091602 | 21092401 | 21092102 | 21082002 | 21092101 | 12/8/2021 11:30pm |  |  |  |  | 18.24 | Successful
H21.33.013.Cx24.MTG.02.007.1.01 | Human | V21100601_2 | 21100601 | 2021-12-09 | Verification | 12/13/2021 at 4:15pm | 47 hours | 12/15/2021 3:30pm |  | 21092101 | 21092102 | 21092307 | 12/15/2021 4:20pm | 12/16/2021 10:20am | 0000991889 | MKG5404 | 64310880 | 210092102 | 21092101 | 10112433 | 12/16/2021 1:05pm | 47 hours | gel edge curling on one side | 2021-12-17 | Ariel 10 | 21091602 | 21092401 | 21092102 | 21082002 | 21092101 | 12/17/2021 1:38pm |  |  |  |  | 23.19 | Successful
602520.15 | Mouse |  |  | 2021-12-16 | Verification | N/A | N/A | 12/20/2021 12:55pm |  | 21092101 | 21092102 | 21092306 | 12/21/2021 12:30pm | 2021-12-21 | 0000991889 | MKG5404 | 64310880 | 210092102 | 21092101 |  | 12/21/2021 2:10pm | N/A |  | 2021-12-22 | Ariel 10 | 21091602 | 21092401 | 21092102 | 21082002 | 21092101 | 12/22/2021 3:26pm | 202112221425_60252015_VMSC01001 | 60252015 | 4:37pm |  | 57.51 | Successful
602521.09 | Mouse |  |  | 2021-12-16 | Verification | N/A | N/A | 12/20/2021 12:55pm |  | 21092101 | 21092102 | 21092306 | 12/21/2021 12:30pm |  | 0000991889 | MKG5404 | 64310880 | 210092102 | 21092101 |  | 12/21/2021 2:10pm | N/A |  | 2021-12-22 | Triton04 | 21091602 | 21092401 | 21092102 | 21082002 | 21092101 | 12/22/2021 3:28pm | 202112221424_60252109_vmsc00401 | 60252109 | 5:10pm |  | 67.07 | Successful
H19.30.002.Cx46.MTG2.02.007.1.01 | Human | V-21121610_1 | 21121610 |  | Verification | 01/21/22 11:30am | 72 hrs | 2022-01-24 | 21092105 | 21092101 | 21102504 | 21092307 | 1/24/2022 2:30pm | 21092104 | 0000991889 | MKG5404 | 64310880 | 21092001 | 10112433 | 1/25/2022 12:50am | 1/25/2022 3:10pm | 72 hrs | gel edge curling on one side | 2022-01-26 | Ariel 10 | 21091602 | 21092401 | 21102504 | 21082002 | 21092101 | 1/26/2022 4:15pm | 202201261515_H1930002Cx46MTG0200701_VMSC01001 | H1930002Cx46MTG0200701 | 5:18pm |  | 51.63 | Successful
605355.10 | Mouse |  |  |  | Verification | N/A | N/A | 2022-01-28 |  | 21120301 | 21120307 | 21092306 | 1/31/2022 2:30pm | 2022-02-01 | 0000991889 | MKG5404 | 64310880 | 21120307 | 21120301 | 10105652 | 2/1/2022 2:50pm |  | Tissue looks damaged | [13 empty] | Successful
605356.01 | Mouse |  |  |  | Verification | N/A | N/A | 2022-01-28 |  | 21120301 | 21120307 | 21092306 | 1/31/2022 2:30pm | 2022-02-01 | 0000991889 | MKG5404 | 64310880 | 21120307 | 21120301 | 10105652 | 2/1/2022 2:50pm | [15 empty] | Successful

## Sections
| Date Sectioned | Coverslips | Number of coverslips received | Sections
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Specimen | [33 empty] | Successful Run
QM21.26.003.Cx07.MTG.02.007.1.01 | 2021-10-21 |  |  | Sections 3: gel; Sections 4: gel; Sections 6: gel; Sections 7: gel; Sections 8: Sent to Vizgen; Sections 9: Sent to Vizgen
​H19.30.001.Cx46.MTG2.02.007.1.01 | 2021-10-21
587754 | 2021-10-21 | [32 empty] | Failed | bar: Sections 1 to Sections 20
594754 | 2021-11-09 |  |  | Sections 1: gel; Sections 2: gel; Sections 5: gel; Sections 7: gel; Sections 12: Software | Running
H19.30.001.Cx46.MTG2.02.007.2.01 | 2021-11-18 |  |  | Sections 1: gel
H21.33.008.Cx26.MTG.02.007.3 | 2021-12-02 |  |  | Sections 5: gel
H21.33.013.Cx24.MTG.02.007.1 | 2021-12-09 | bar: Sections 1 to Sections 4
602520 | 2021-12-16 |  | 14 | Sections 3: Sectioning; Sections 5: MERSCOPE; Sections 6: MERSCOPE
602521 | 2021-12-16 |  | 9 | Sections 3: gel; Sections 4: gel; Sections 5: MERSCOPE; Sections 8: Expired
605355 | 2022-01-13 | VZ1121610_1 | 14
605356 | 2022-01-13 | VZ1121610_2 | 15
H19.30.002.Cx46.MTG2.02.007.1 | 2022-01-13 | VZ1121610_1 (1-2)VZ1121610_2(3-6) | 5

## Issues Log
Date Added | Issue Added By | Project | Which MERSCOPE was affected | Issue Name | Issue Type | Specimen Impacted | Image Directory | Notes | Priority | Status | Date Resolved | Was Vizgen contacted? | Comments from Vizgen | How to Resolve issue
2021-10-26 | Delissa | MERSCOPE |  | Not Starting up | Power (Hardware) | [6 empty] | Yes |  | Open casing using allen wrench as a wedge to reach internal computer and manually power on
2021-10-27 | Delissa | [10 empty] | Yes
2021-10-28 | Delissa | MERSCOPE |  | Unable to get mosaic image from correct specimen | MERSCOPE logic loop (Hardware/Software) | [6 empty] | Yes |  | Power down between every run (including between verification and experimental runs)
2021-10-28 | Delissa | MERSCOPE |  | Unable to get high focus image | Laser unable to focus | [6 empty] | Yes |  | Push down on objective to disengage motor in Z-plane to re-establish automatic focus
|  |  |  | Double-counting cells | MERSCOPE software | [6 empty] | Yes
|  |  |  | selected image area and actual image area do not match | MERSCOPE software | [6 empty] | Yes
2021-11-08 | Michael | MERSCOPE |  | Extremely slow imaging, had to abort experiment | MERSCOPE software
2021-11-08 | Michael | MERSCOPE |  | no flush after aborted experiment | MERSCOPE software
2021-11-10 | Jazmin | MERSCOPE |  | Focus failure | MERSCOPE software |  |  | High-magnification objective focusing failed. QPD Video window was normal. Oil and chamber were checked by a second person to ensure there were no bubbles.Part of the imaging area selected was out of frame. Second attempt showed an error while also saying it was completed. The entire system was restarted. The same issue was encountered again. This time an imaging area within the frame was selected. | High | Resolved |  | Yes |  | George said the focus lock spots drifted down. He adjusted them for them to be more centered and said an engineer would be sent to fix the issue. He also moved the XY stage a few millimeters from the center. Other possible delays in fixing the problem were bubbles in the oil. The experiment was started at around 7pm.
2021-11-11 | Jazmin | MERSCOPE |  | Instrument Restart | MERSCOPE software |  |  | The instrument was restarted and the experiment was stopped. Cause unknown. Vizgen support said it may be related to a local windows activity or control software that caused the instrument to restart. They will continue to work on investigating the cause of the power cycle. | High | Unresolved |  | Yes |  | MERSCOPE will get completely replaced by VIZGEN.
2021-11-18 | Delissa | MERSCOPE | Arielle10 | Incorrect Imagining cartiage in Kit | Chemistry | 594754.04 |  | After thawing and activiating Imaging cartridge. It was observed that the label on the cartridge stated it was a 140 gene imaging cartridge |  |  |  | Yes | Vizgen is stating that during the orginal manufactoring of kits all imaging cartridges were made with 500 gene reagents. | Was advised to use the cartridge by Vizgen (Mike) A new kit was orderedto replace this kit
2021-11-19 | Delissa | MERSCOPE | Arielle10 | Progress light went out | Hardware | 594754.04 |  | During processing we noticed at 4pm on 11/19 that the light was out on the progress bar. |  | Unresolved |  | Yes | The LED lights in the front are just for cosmetic reasons. They do not effect the functioning of the system. They wil investigate the case of the issue.
2021-11-24 | Delissa | MERSCOPE | Arielle10 | Software skipping over the analysis step. | Software | 594754.08 |  | When going through the steps to start the analysis and flush the instrument after selecting the segmentation it went into cleaning steps. The option to start the analysis didn't come up | High |  |  | YES | "I Checked on 010 and it finished the manual copy of data to the analysis pc. We’re working to upgrade the control software and start the analysis of the last run. I believe the software bug you identified is a gap in the environment where the analysis pc connection is not restarted if it drops. This has been identified and we will have a software fix in the coming weeks." --Mike
2021-11-24 | Delissa | MERSCOPE | Triton04 | Incorrect Imagining cartiage in Kit |  |  |  | Before thawing and activiating Imaging cartridge. It was observed that the label on the cartridge stated it was a 300 gene imaging cartridge not the 500 gene imaging cartridge that was expected |  |  |  | Yes | They have flagged all the imaging kits from October for this issue.
2021-11-29 | Michael | MERSCOPE | Triton04 | high level of bead streaking | Reagents | 594754.09 |  | High level of straks observed in polyT signal that leads to erroneous cell segmentation
2021-11-29 | Michael | MERSCOPE | Triton04 | large parts of cortex missing | Chemistry | 594754.09 |  | Large parts of cortex, especially upper layers are missing
2021-11-29 | Michael | MERSCOPE | Triton04 | missing segmentation in DG | Software | 594754.09 |  | In regions of high cell density the segmentation algorithms has a very low success rarw
2021-12-09 | Michael | MERSCOPE | Arielle10 | several fov with focus problems |  | 594754.03 |  | Segmentation failed in this region but no obvious effect on transcript detection | High | Unresolved
2022-01-11 | Delissa | MERSCOPE | Arielle10 | Clogged fluidics system | Hardware | 602520.06 |  | During Flow chamber wetting step the coverslip had a pressure break. Mike from Vizgen remotely water flushed the system |  | Resolved | 2022-01-11 | Yes | They had not seen this issue before.
2022-01-11 | Delissa | MERSCOPE | Triton04 | Segmentation issue | analysis software | 602520.02 |  | Mike from Vizgen says that they will look into the issue and come up with a solution
2022-01-19 | Delissa | MERSCOPE | Triton04 | Flow Chamber | Hardware | 602520.13 |  | The flow chamber was not sitting properly prior to mosaic image. This was fixed for the run.
2022-01-21 | Delissa | MERSCOPE | Triton04 | Lock Selinode | Hardware | None
2022-01-21 | Delissa | MERSCOPE | Triton04 | Focus failure | Hardware/Software | 602521.05 |  | Imaging run start normally. Acquistion of the Mosaic took over 1.5 hours and it was off center. See images. | [5 empty] | MERSCOPE was restarted and imaging run started over.
2022-01-24 | Delissa | MERSCOPE | Arielle10 | Fluidics | Fluidics | 602520.04 |  | Tonight while loading sample 602520.04 during the Wet chamber step of the process no liquid pulled out of the cartridge. I attempted 3 times then aborted the run. Restarted the run and instead of reattaching the chamber I attached the bypass. During the fluidics prim there was not liquids passing through the tubing. Once again attached the chamber with the same results no liquid filled the chamber. I will fail this run. |  |  |  | yes

## Calendar
| Week | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Color Legend
November |  |  | 2021-11-01 | 2021-11-02 | 2021-11-03 | 2021-11-04 | 2021-11-05 | 2021-11-06
[6 empty] | Human | Human |  |  | Imaging Day
[6 empty] | H19.30.001.CX46.MTG.02.007.1.01 | H19.30.001.CX46.MTG.02.007.1.01
Sectioning Day
|  |  | 2021-11-08 | 2021-11-09 | 2021-11-10 | 2021-11-11 | 2021-11-12 | 2021-11-13
|  |  | Macaque | Macaque | Mouse | Mouse 594754 | Mouse 594754 |  |  | Institute Closed
|  |  | QM21.26.003.Cx07.MTG.02.007.1.01.10 | QM21.26.003.Cx07.MTG.02.007.1.01.10 | 594754 | Verification W/E/D | 500 gene W/E/D
|  |  |  | Mouse Sectioning (20 sections) #594754 | Verification(2) and 500 gene panel (4) |  | Verification Imaging Plate 81 |  |  | HYB
|  | Vizgen to delivery MERSCOPE 2 | 2021-11-15 | 2021-11-16 | 2021-11-17 | 2021-11-18 | 2021-11-19 | 2021-11-20
|  |  | Mouse 594754 Plate 77 |  | Mouse 594754 Plate 81 | Mouse 594754 Plate 54 | Mouse 594754 |  |  | W/E/D
|  |  | Imaging |  | Imaging | Imaging | Imaging
|  |  | Mouse |  |  | 500 gene W/E/D (3)
|  |  | 2021-11-22 | 2021-11-23 | 2021-11-24 | 2021-11-25 | 2021-11-26 | 2021-11-27
|  |  | Mouse 594754 Plate 77 |  | Mouse 594754
|  |  | Imaging |  | Imaging
|  |  | Mouse |  | 500 gene W/E/D (3)
| Week | Notes | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
December |  |  | 2021-11-29 | 2021-11-30 | 2021-12-01 | 2021-12-02 | 2021-12-03 | 2021-12-04
[5 empty] | Human Verification imaging (1) | 140 gene imaging (2) | Mouse 594754 (1)
|  |  |  | Verification W/E/D (1) |  | Human Sectioning (6 sections) | 140 gene imaging (1)
|  |  | 140 gene HYB (3) | Mouse HYB (4) | 140 gene W/E/D (3) | 500 gene W/E/D (4) | Human Light Treatment
|  |  | 2021-12-06 | 2021-12-07 | 2021-12-08 | 2021-12-09 | 2021-12-10 | 2021-12-11
|  |  | Mouse 594754 (2) |  |  | 140 gene imaging (2) | 140 gene imaging (2)
|  | Finish the final 2 human from last sectioning and start new sectioning | Human Verification HYB (1) | Verification W/E/D (1) | Human Verification imaging (1)
140 gene W/E/D (4)
|  |  | 140 gene HYB (4) |  | Mouse 500gene HYB (2) |  | 500 gene W/E/D (2)
|  |  | 2021-12-13 | 2021-12-14 | 2021-12-15 | 2021-12-16 | 2021-12-17 | 2021-12-18
|  |  | 500 gene imaging (2) |  |  | 140 gene imaging (2) | 140 gene imaging (2)
140 gene W/E/D (4)
|  |  | 140 gene HYB (4) |  |  | Mouse Sectioning (30 sections)
|  |  | 2021-12-20 | 2021-12-21 | 2021-12-22 | 2021-12-23 | 2021-12-24 | 2021-12-25
|  |  | Mouse Verification HYB (1) | Verification W/E/D (1) | Mouse Verification imaging (1)
January | Week | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
|  |  | 2022-01-03 | 2022-01-04 | 2022-01-05 | 2022-01-06 | 2022-01-07 | 2022-01-08
|  |  | Mouse HYB (4) |  | 500 gene W/E/D (4) | 500 gene imaging (2)
[5 empty] | Mouse HYB (2) |  | 500 gene W/E/D (2)
|  |  | 2022-01-10 | 2022-01-11 | 2022-01-12 | 2022-01-13 | 2022-01-14 | 2022-01-15
|  |  | 500 gene imaging (2) |  | 500 gene imaging (2) |  | 500 gene imaging (2)
500 gene W/E/D (4)
|  |  | Mouse HYB (4) |  | Mouse HYB (2) |  | 500 gene W/E/D (2)
|  |  | 2022-01-17 | 2022-01-18 | 2022-01-19 | 2022-01-20 | 2022-01-21 | 2022-01-22
|  |  | 2022-01-24 | 2022-01-25 | 2022-01-26 | 2022-01-27 | 2022-01-28 | 2022-01-29
Febuary | Week | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
March | Week | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
April | Week | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
May | Week | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
June | Week | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday
Formulas:
Tuesday = [Monday]+1
Wednesday = [Tuesday]+1
Thursday = [Wednesday]+1
Friday = [Thursday]+1
Saturday = [Friday]+1

## Inventory Tracker
Item name | Product Number | Vendor | Price | Location | Storage Requirements | Notes | Amount on hand | Amount on hand as of 11/22/2021 | Amount on hand as of 12/3/2021 | Amount on hand as of 12/8/2021 | Samples can be ran | Amount on hand as of 12/10/2021 | Amount on hand as of 12/15/2021 | Amount on hand as of 1/03/2022 | Amount on hand as of 1/18/2022
MERSCOPE 500 gene Imaging Kit | 10400006 | Vizgen | 2900 |  | -20 |  | 7 | 3 | 9 | 9 | 9 | 7 | 10 | 10 | 19
Merscope 140 gene panel imaging Kit |  | Vizgen | 1800 |  | -20 |  | 10 | 10 | 8 | 8 | 8 | 4 | 4 | 1 | 11
MERSCOPE Sample Prep Kit | 100400012 | Vizgen | 1500 |  | 4 |  | 5 | 5 | 5 |  |  |  |  | 4 | 4
MERSCOPE Slide Box #of coverslips available | 10500001 | Vizgen | 600 | Histology 320 -20 freezer | -20 |  | 3 |  | 1.5 | 1.5 | 34 | 26 | 26 |  | 73
MERSCOPE Sample Verification Kit (Human) | 10400007 | Vizgen | 375 |  | -20 |  | 10 |  | 9
MERSCOPE Sample Verification Kit (Mouse) | 10400008 | Vizgen | 375 |  | -20 |  | 10 |  | 8
MERSCOPE Sample Verification Kit (Monkey)(R&D Custom Verification Kit, Allen Institute 1 | 10900003 | Vizgen | 600 |  | -20 |  | 3 |  | 2
MERSCOPE 500 Gene Panel VZG147 | 10400003 | Vizgen | 5000 |  | -20 |  | 1 | 1 | 2
Human panel (VZG167a) |  | Vizgen | 5000 |  | -20 |  | 1 |  | 1 |  | 9
Macaque Panel (VZG167b) |  | Vizgen | 5000 |  | -20 |  | 1 |  | 1
Proteinase K, Molecular Biology Grade | P8107S | New England Biosciences | 85 |  | -20 |  | 5 | 10 | 10
RNAse inhibitor, Molecular Biology Grade | M0314L | New England Biosciences | 292 |  | -20 |  | 5 | 10 | 10
Ammonium Persulfate | 09913-100G | Sigma | 112 |  |  |  | 1
TEMED | T7024-25ml | Sigma | 47.4 |  |  |  | 2
Rnase Zap | AM9782 | Life Technologies | 378 |  | RT |  | 1 |  | 3
Gel Slick | 12001-812 |  | 149.7 |  | RT |  | 1 |  | 6
ParaFilm M |  |  | 51.18 |  | RT |  | 1 |  | 2
Hobby Blades | 103301-802 | VWR | 3.96 |  | RT |  | 10 |  | 10
Hobby Blade #11 |  |  | 20.97 |  | RT |  | 200 |  | 200
Immersion Oil | Immoil-F30cc Type F | Olympus |  |  | RT |  | 3 | 3 | 3
Mineral Oil | M5904-500ml/6 | Sigma | 262 |  | RT |  | 6 | 6 | 6

## Triton04
MERSCOPE
AIBS.MERSCOPE.01
Triton04
Team Viewer ID

## Arielle10
MERSCOPE
AIBS.MERSCOPE.01.Arielle.10
Arielle10
Team Viewer ID